## 英文
Specification Review and Verification Checklist
Verification Method |  | Verification Result
Specification Item | Seller's FAT (Factory Acceptance Test) document. | Pass | Fail
Substrate | V
Optical aperture | V
Curvature | V
Meridional slope error | V
Sagittal slope error | V
Roughness | V
Coating | V
Alignment mark | V
Exterior appearance check | V
Dimensional check | V
The documents provided by the seller must meet all the specification requirements. Upon completion of the contract by the supplier, the requesting unit of NSRRC will inspect and/or test each item in accordance with the specification checklist to confirm compliance with the specifications.